## Slide 1
PV
Grid
Electrical
storage
Non-shiftable load
Occupant
thermostat
override
model
DHW demand
Space cooling and heating demand
EV demand
Heating
storage
Cooling
storage
DHW
storage
DHW
device
Cooling
device
Heating
device
Control agent 0
C/D
C/D
C/D
C/D
C/D
P
P
EV & charger
Power
outage
model
Net meter
Electric energy
Control signal
Thermal energy
P
Power control
C/D
Charge/discharge control
Occupant interaction
Observations
Actions
ENVIRONMENT
CONTROL
Observations
Building 1
Building 3
Building 2
Building b-1
Building 0
Price ($/kWh)
Emissions (kgCO2e/kWh)
Signal

## Slide 3
ENVIRONMENT
CONTROL
ENVIRONMENT
Building b-1
Building 0
Building b-1
Building 0
Building b-1
Building 0

## Slide 4
ENVIRONMENT
RBC
ENVIRONMENT
Select control actions based on simple rules
(IF-THEN-ELSE)
ENVIRONMENT
MPC
ENVIRONMENT
Get forecast.
Optimize control action using building thermal model.
ENVIRONMENT
RLC
ENVIRONMENT
Update knowledge based on reward.
Select action for highest expected reward.

## Slide 5
OpenStudio model (.osm)
Building metadata (.parquet)
Building schedules (.csv)
Representative building selection
Weather database
EnergyPlus simulations
Loads
Supplementary models
CityLearn
KPIs
Systems specifications
Representative thermostat setpoints
Control agent(s)
EULP dataset
Phase 1 Neighborhood design and
data collection
Phase 2 Load simulation
and dataset
preparation
Phase 3 Control
simulation and reporting
Designer option 1
Building metadata
Building count
Designer option 2
DER availability
System sizing
Designer option 4
Control Algorithm
Designer option 5
KPI selection
Designer option 3
Thermal dynamics
Occupant
Power outage

## Slide 6
County EULP Metadata
Vintage, Orientation, Occupant Count, Infiltration Rate, Insulation, WWR, EUI
Metadata Transformation
K-mean Clustering
Optimal n-clusters Selection
Representative Buildings
Weighted random selection
County Climate Classification with Degree Days
ecobee Database Query
Average Daily Profile
Dynamic Time Warping
k-shape Clustering
Representative Setpoints
Optimal n-clusters Selection
Weighted random selection

## Slide 7
ENVIRONMENT
CONTROL
ENVIRONMENT

## Slide 8
Building 0
Building 3
Building 1
Building 2
Building b-1
Building 4
Net electricity

## Slide 9
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water heating storage
Battery
Solar PV
Building 1
Cooling storage
Grid
Electricity Source
Energy Storage
End Use
HVAC
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water and/or space heating storage
Battery
Solar PV
Building N
Space cooling storage
Control Agent
Charge/
Discharge
Power
Observations
LSTM Dynamics Model
Temperature
Unlimited Supply/ Power Outage
Occupant Thermostat Override Model