## Slide 1
Building N
Control Agent
Charge/
Discharge
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Cooling storage
Domestic hot water and/or space heating storage
Battery
Grid
Solar PV
Power
Building 1
Observations
Occupant Model
Setpoint

## Slide 2
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water heating storage
Battery
Solar PV
Building 1
Cooling storage
Grid
Electricity Source
Energy Storage
End Use
HVAC
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water and/or space heating storage
Battery
Solar PV
Building N
Space cooling storage
Control Agent
Charge/
Discharge
Power
Observations
Dynamics Model
Temperature
Setpoint
change

## Slide 3
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water heating storage
Battery
Solar PV
Building 1
Cooling storage
Grid
Electricity Source
Energy Storage
End Use
HVAC
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Domestic hot water and/or space heating storage
Battery
Solar PV
Building N
Space cooling storage
Control Agent
Charge/
Discharge
Power
Observations
LSTM Dynamics Model
Temperature
Unlimited Supply/ Power Outage
Occupant Thermostat Override Model

## Slide 4
Electricity source
Energy storage system
Load
HVAC
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Thermal energy storage
Battery
Grid
PV

## Slide 5
Grid
End Use
HVAC
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Building
Control Agent
Power
Observations
LSTM Dynamics Model
Temperature
Occupant Thermostat Override Model

## Slide 6
Thermal Dynamics Model
PV
Grid
Electrical
storage
Non-shiftable load
Occupant
Thermostat
Override
Model
DHW demand
Space cooling and heating demand
EV demand
Heating
storage
Cooling
storage
DHW
storage
DHW
device
Cooling
device
Heating
device
Control agent
C/D
C/D
C/D
C/D
C/D
P
P
EV & charger
Power
outage
model
Net meter
Electric energy
Control signal
Thermal energy
P
Power control
C/D
Charge/discharge control
Occupant interaction
Observations
Actions
ENVIRONMENT
CONTROL
Observations

## Slide 7
at
ENVIRONMENT
CONTROL
ot
ot+1
rt+1

## Slide 9
Building 1
Control Agent N
Charge/
Discharge
Electricity Source
Energy Storage
End Use
Heat Supply
Electric heater
Heat pump
Non-shiftable plug loads
Domestic hot water heating
Space cooling & heating
Cooling storage
Domestic hot water heating storage
Battery
Grid
Solar PV
Building N

## Slide 11
OpenStudio Model (.osm)
Building Metadata (.parquet)
Building Schedules (.csv)
TMY3
Meteostat
K-means Clustering
Representative Buildings
Weather (.epw)
OpenStudio ➜ EnergyPlus Translator
EnergyPlus Model (.idf)
Ideal Load
Partial Loads
Trained Dynamics LSTM Model
CityLearn
Energy Flexibility KPIs
Systems Specifications
Representative Thermostat Setpoints
Dynamic Time Warping
Control Agent(s)
EULP Database
Building Selection
ecobee Database
Phase 1: Neighborhood Design
Phase 2: Building Load
Simulation
& CityLearn
Dataset
Preparation
Phase 3: Control
Simulation & Reporting
Weather Database

## Slide 12
OpenStudio Model (.osm)
Building Metadata (.parquet)
Building Schedules (.csv)
Representative Building Selection
Weather Database
EnergyPlus Simulations
Loads
Dynamics Model
CityLearn
KPIs
Systems Specifications
Representative Thermostat Setpoints
Control Agent(s)
EULP Database
Phase 1 Neighborhood Design &
Data Collection
Phase 2 Load Simulation
& Dataset
Preparation
Phase 3 Control
Simulation & Reporting
Designer Option 1
Building Metadata
Building Count
Designer Option 2
DER Availability
System Sizing
Designer Option 4
Control Algorithm
Designer Option 5
KPI Selection
Designer Option 3
Model Type

## Slide 14
County EULP Metadata
Vintage, Orientation, Occupant Count, Infiltration Rate, Insulation, WWR, EUI
Metadata Transformation
K-mean Clustering
Optimal n-clusters Selection
Representative Buildings
Weighted random selection
County Climate Classification with Degree Days
ecobee Database Query
Average Daily Profile
Dynamic Time Warping
k-shape Clustering
Representative Setpoints
Optimal n-clusters Selection
Weighted random selection